## Slide 1: Controlling magnetic field for next-generation electron EDM search
PAECRS January 24, 2024
Background picture:
Siyuan Liu x (DALL·E x GPT-4)

## Slide 2: Our Universe
“Matter”
“Antimatter”
At the beginning of big bang
=
Introduction
The search for electron EDM
Magnetic fields
Summary

## Slide 3: Our Universe
“Matter”
“Antimatter”
After the big bang
>
Introduction
The search for electron EDM
Magnetic fields
Summary

## Slide 4: Our Universe
“Matter”
“Antimatter”
After the big bang
>
HOW?
Introduction
The search for electron EDM
Magnetic fields
Summary

## Slide 5: Our Universe: consequence of symmetry violation
“Matter”
“Antimatter”
>
Any matter-favoring mechanism must violate CP symmetry (Charge & Parity reversal)
In the Standard Model, CP violation is much smaller than
(Cabbibo-Kabayashi-Maskawa mechanism)
(Time reversal) assuming invariance
Call for new physics!
(Sakharov conditions)
Introduction
The search for electron EDM
Magnetic fields
Summary

## Slide 6
Outline
Probe new physics with the search of electron EDM
  Electrons: the quantum sensor for new physics
  Better measurements: the intrinsic quantum shot noise
  Excess noise from magnetic fields
Magnetic field control
  Magnetic shielding
  Self-shielding coils
  Combine two system together
Toward the next-generation electron EDM measurement
Introduction
The search for electron EDM
Magnetic fields
Summary

## Slide 7: Electrons: the quantum sensor for new physics
An Electric Dipole Moment (EDM) is the sign of violation
+
-
-
+
+
-
EDM: “offset” between
center of mass and center of charge
Introduction
The search for electron EDM
Magnetic fields
Summary

## Slide 8: Electrons: the quantum sensor for new physics
How large is this “offset”?
+
-
 | ? |  | 
 | current exp. (JILA 2023*) |  | 
 | Standard Model upper limit |  | 
 | current exp. (JILA 2023*) |  | 
 | Standard Model upper limit |  | 
*Roussy, T. et al. . Science 381, 46-50 (2023)
EDM: “offset” between
center of mass and center of charge
Introduction
The search for electron EDM
Magnetic fields
Summary

## Slide 9: Electrons: the quantum sensor for new physics
Electrons sense the nearby “virtual particles” and reflects into its moment
Standard Model
Beyond the Standard Model
magnetic dipole moment anomaly
Electron is addressed by virtual photons Well-known in QED for 0.13 parts per trillion
electric dipole moment (?)
Electron interacts with virtual particle X (new physics)
1st order perturbation,
with -violating phase
Introduction
The search for electron EDM
Magnetic fields
Summary

## Slide 10: Electrons: the quantum sensor for new physics
Beyond the Standard Model
electric dipole moment (?)
Electron interacts with virtual particle X (new physics)
1st order perturbation,
with -violating phase
for
LHC
30km
~$5 billion
EDM search
~$5 million
Introduction
The search for electron EDM
Magnetic fields
Summary

## Slide 11: How to make a good EDM measurement?
Measurement are intrinsically limited by the quantum shot noise:
--- effective electric field
--- coherence time
--- number of particles
Big field
Long coherence
(narrow resonance)
better statistics
(split resonance by )
Introduction
The search for electron EDM
Magnetic fields
Summary
E. Cornell
Physics 2001

## Slide 12: The ACME approach
Introduction
The search for electron EDM
Individual projects
Summary
+
-
To fully utilize this field:

## Slide 13: The ACME approach
Introduction
The search for electron EDM
Individual projects
Summary
+
-

## Slide 14: The ACME approach
Introduction
The search for electron EDM
Individual projects
Summary
Spin-precession region
+
-

## Slide 15
Spin-precession region
Introduction
The search for electron EDM
Magnetic fields
Summary

## Slide 16: Excess noise from magnetic field
Spin-precession region
Applied B field:
Residual B field:
B gradient:
Introduction
The search for electron EDM
Magnetic fields
Summary

## Slide 17: Magnetic shielding
Magnetic shielding is necessary for controlling fields at micro-gauss level:
Geomagnetic field at Chicago
Electrical power lines
Magnet in Gabrielse Lab maximum typical
Other lab equipment (Pulse tube, compressors, etc.)
Icons used:
Siyuan Liu x (DALL·E x GPT-4)
Graduate student working in lab
Introduction
The search for electron EDM
Magnetic fields
Summary

## Slide 18: Magnetic shielding – How it works?
Introduction
The search for electron EDM
Magnetic fields
Summary

## Slide 19: Magnetic shielding – How it works?
Introduction
The search for electron EDM
Magnetic fields
Summary

## Slide 20: Magnetic shielding – How it works?
Introduction
The search for electron EDM
Magnetic fields
Summary

## Slide 21: Magnetic shielding – How it works?
Introduction
The search for electron EDM
Magnetic fields
Summary

## Slide 22: Remanent magnetization will be a problem
Introduction
The search for electron EDM
Magnetic fields
Summary

## Slide 23: Remanent magnetization will be a problem
Introduction
The search for electron EDM
Magnetic fields
Summary

## Slide 24: Degaussing – Remove the problem
Cestriom GmbH, Cestriom.com
Introduction
The search for electron EDM
Magnetic fields
Summary

## Slide 25: Our shield
Spin-precession region
Introduction
The search for electron EDM
Magnetic fields
Summary

## Slide 26: Effect of holes
cumulated hole leakage for final geometry (static ambient field)
simulation for single holes
field leakage effect vs. hole size
Introduction
The search for electron EDM
Magnetic fields
Summary

## Slide 27: Degaussing system
We put 12 coils on edges and middle of surfaces to generate degaussing field in an “enclosed loop” of 4 surfaces
coil group
coil group
coil group
Middle layer
Inner layer
Outer layer
=108 individual coils
Introduction
The search for electron EDM
Magnetic fields
Summary

## Slide 28: How does the real shield look like?
Internal look during final assembly
Side view of the shield
Introduction
The search for electron EDM
Magnetic fields
Summary

## Slide 29: Shielding performance
Achieved and
Improved by and
On transverse axis
for ac field
Introduction
The search for electron EDM
Magnetic fields
Summary

## Slide 30: Magnetic field foils
During the EDM measurement, a bias magnetic field is applied to drive the spin-precession
The magnetic field coil must be “self-shielding” to avoid magnetization of shields
Setup of boundary problem
Finite-element solution of scalar potential
Introduction
The search for electron EDM
Magnetic fields
Summary

## Slide 31: Magnetic Field Coils – Design and Simulation
combined coil
Inner
coil
Outer
coil
simulated & measured
coil field in free space
Introduction
The search for electron EDM
Magnetic fields
Summary

## Slide 32: Magnetic field coils – Gradient control
Complete gradient control Better uniformity & systematic studies
Introduction
The search for electron EDM
Magnetic fields
Summary

## Slide 33: Confirming Maxwell’s equations
coil
Introduction
The search for electron EDM
Magnetic fields
Summary

## Slide 34: The actual field coils
Combined coil
Combined coil side view
Inner coil during assembly stage
Introduction
The search for electron EDM
Magnetic fields
Summary

## Slide 35: Magnetic Field Coils
Measured field with main coil inside shield
change before/after applying (spin-precession region center)
Minimal magnetization of shield from coil fringe field reduction by
Introduction
The search for electron EDM
Magnetic fields
Summary

## Slide 36: Magnetic Field Coils
No self-shielding on and coil
Magnetized shield for
Magnetized shield for
Introduction
The search for electron EDM
Magnetic fields
Summary

## Slide 37: Towards the next-generation EDM experiment
ACME
(ThO)
JILA
(HfF+)
ACME III (projected)
Introduction
The search for electron EDM
Magnetic fields
Summary

## Slide 38: Our Collaboration
Northwestern University
Gerald Gabrielse (PI) Xing Fan
Siyuan Liu
Collin Diver
Maya Watts
University of Chicago
David DeMille (PI) Zhen Han Peiran Hu
Xing Wu (now Prof. @ MSU)
Harvard University
John Doyle (PI)
Xing Wu (now Prof @ MSU)
Okayama University
Koji Yoshimura Noboru Sasao Satoshi Uetake Takahiko Masuda
Ayami Hiramoto
UC Berkeley
Cris Panda
Caltech
Nick Hutzler
Siyuan Liu siyuanliu2023@u.northwestern.edu
PAECRS January 24, 2024

## Slide 39: Teamwork made this possible
Northwestern University
Gerald Gabrielse (PI) Xing Fan
Siyuan Liu
Collin Diver
Maya Watts
University of Chicago
David DeMille (PI) Zhen Han Peiran Hu
Xing Wu (now Prof. @ MSU)
Harvard University
John Doyle (PI)
Xing Wu (now Prof @ MSU)
Okayama University
Koji Yoshimura Noboru Sasao Satoshi Uetake Takahiko Masuda
Ayami Hiramoto
UC Berkeley
Cris Panda
Caltech
Nick Hutzler
Siyuan Liu siyuanliu2023@u.northwestern.edu
PAECRS January 24, 2024